LOOGOOTEE MFG. — TRAINING SIMULATION G2 — Gate Entry Document IIoT Stack Deployment and Network Security Status: PLANNED ¦ Reference: Rack Phased Development Plan Rev 1.2

Phase Overview

Gate G2 confirms that the AOOSTAR NAS is commissioned, the full IIoT stack is deployed in Proxmox LXC containers, Tailscale remote access is configured, and the network security architecture is implemented and verified. Security verification is a non-negotiable gate criterion — the stack is not considered commissioned until the security posture is confirmed.

Full phase detail — purpose, key activities, demonstration value, and implementation notes — is documented in the Rack Phased Development Plan Rev 1.2, located in 06_rack_documentation/rack_phased_development_plan/.

Gate Entry Criteria

All criteria must be satisfied and documented before this gate is passed and the next phase is authorized to begin. Check each item at time of gate review.

| # | Criteria | ✓ |
| --- | --- | --- |
| 1 | AOOSTAR NAS commissioned — Proxmox VE installed and operational | ☐ |
| 2 | All IIoT stack LXC containers deployed and running — Mosquitto, Node-RED, Ignition, Telegraf, InfluxDB, Grafana | ☐ |
| 3 | Ignition confirmed as sole calculation engine — OEE calculating from live PLC data | ☐ |
| 4 | Telegraf confirmed capturing all broker topics to InfluxDB — all metrics present and verified | ☐ |
| 5 | Tailscale mesh network configured — no port forwarding, no public IP exposure | ☐ |
| 6 | Network security zones confirmed — OT isolated, IIoT segment defined, no direct OT to IT path | ☐ |
| 7 | MQTT broker authentication and ACL enforcement verified — anonymous connections rejected | ☐ |
| 8 | TLS encryption confirmed on all MQTT connections | ☐ |
| 9 | Remote access verified — live rack data accessible via Tailscale from outside home network | ☐ |
| 10 | NAS and stack configuration files committed to version control | ☐ |
| 11 | Gate G2 sign-off documented in this record | ☐ |

Gate Sign-Off Record

Complete this section when all gate criteria have been satisfied. Gate sign-off authorizes commencement of the next phase.

| Gate | G2 |
| --- | --- |
| Phase Name | IIoT Stack Deployment and Network Security |
| Date Passed |  |
| Signed Off By |  |
| All Criteria Satisfied | ☐ Yes ☐ No — conditions noted below |
| Conditions / Notes |  |
| Authorization to Proceed | ☐ Authorized ☐ Conditional ☐ Not Authorized |