LOOGOOTEE MFG. — TRAINING SIMULATION G3 — Gate Entry Document Production Visibility and Historian Status: PLANNED ¦ Reference: Rack Phased Development Plan Rev 1.2

Phase Overview

Gate G3 confirms that the production visibility and historian layer is fully operational before physical system expansion begins. All machines must be visible, OEE must be calculating in real time, and the historian must be accumulating data. This gate establishes the baseline operational state before the operator panel rack is added.

Full phase detail — purpose, key activities, demonstration value, and implementation notes — is documented in the Rack Phased Development Plan Rev 1.2, located in 06_rack_documentation/rack_phased_development_plan/.

Gate Entry Criteria

All criteria must be satisfied and documented before this gate is passed and the next phase is authorized to begin. Check each item at time of gate review.

| # | Criteria | ✓ |
| --- | --- | --- |
| 1 | Grafana dashboards complete for all 11 controllers and both sites — machine detail and site overview views | ☐ |
| 2 | OEE calculating in real time for all production machines — Availability, Performance, Quality | ☐ |
| 3 | InfluxDB historian accumulating data at full resolution for all metrics | ☐ |
| 4 | Shift reporting operational — shift start, end, and production totals captured per shift | ☐ |
| 5 | Cross-site production visibility confirmed — Site 1 output and Site 2 receiving reconciled automatically | ☐ |
| 6 | Downtime events captured automatically — timestamp, duration, and fault code for all machines | ☐ |
| 7 | Dashboards accessible via Tailscale from outside home network — verified | ☐ |
| 8 | Historian backup procedure automated and verified | ☐ |
| 9 | Dashboard and historian configuration committed to version control | ☐ |
| 10 | Gate G3 sign-off documented in this record | ☐ |

Gate Sign-Off Record

Complete this section when all gate criteria have been satisfied. Gate sign-off authorizes commencement of the next phase.

| Gate | G3 |
| --- | --- |
| Phase Name | Production Visibility and Historian |
| Date Passed |  |
| Signed Off By |  |
| All Criteria Satisfied | ☐ Yes ☐ No — conditions noted below |
| Conditions / Notes |  |
| Authorization to Proceed | ☐ Authorized ☐ Conditional ☐ Not Authorized |