LOOGOOTEE MFG. — TRAINING SIMULATION G5 — Gate Entry Document IO-Link Smart Sensors and Process Integration Status: PLANNED ¦ Reference: Rack Phased Development Plan Rev 1.2

Phase Overview

Gate G5 confirms that IO-Link smart sensors are fully operational, all three integration patterns are demonstrated simultaneously, and a sensor baseline has been established before predictive maintenance thresholds are configured. The sensor baseline must be established from real operating data — no threshold values are set before 72 hours of baseline data is collected.

Full phase detail — purpose, key activities, demonstration value, and implementation notes — is documented in the Rack Phased Development Plan Rev 1.2, located in 06_rack_documentation/rack_phased_development_plan/.

Gate Entry Criteria

All criteria must be satisfied and documented before this gate is passed and the next phase is authorized to begin. Check each item at time of gate review.

| # | Criteria | ✓ |
| --- | --- | --- |
| 1 | IFM AL1590 IO-Link master commissioned in operator panel rack — all 8 ports active | ☐ |
| 2 | Temperature sensor operational and publishing to UNS | ☐ |
| 3 | Pressure sensor operational and publishing to UNS | ☐ |
| 4 | Flow sensor operational and publishing to UNS | ☐ |
| 5 | Vibration sensor operational and publishing to UNS | ☐ |
| 6 | All four sensors publishing to UNS alongside PLC simulation data | ☐ |
| 7 | Integration Pattern 1 confirmed — edge device via EPIC Node-RED | ☐ |
| 8 | Integration Pattern 2 confirmed — direct EtherNet/IP via CompactLogix L24ER | ☐ |
| 9 | Integration Pattern 3 confirmed — direct PROFINET via S7-1200 | ☐ |
| 10 | All three integration patterns confirmed simultaneously | ☐ |
| 11 | Sensor baseline established — minimum 72 hours normal operation data collected in InfluxDB | ☐ |
| 12 | Baseline values documented — normal operating ranges for all four sensors across VFD speed range | ☐ |
| 13 | Threshold values defined for all four sensors | ☐ |
| 14 | IO-Link configuration committed to version control | ☐ |
| 15 | Gate G5 sign-off documented in this record | ☐ |

Gate Sign-Off Record

Complete this section when all gate criteria have been satisfied. Gate sign-off authorizes commencement of the next phase.

| Gate | G5 |
| --- | --- |
| Phase Name | IO-Link Smart Sensors and Process Integration |
| Date Passed |  |
| Signed Off By |  |
| All Criteria Satisfied | ☐ Yes ☐ No — conditions noted below |
| Conditions / Notes |  |
| Authorization to Proceed | ☐ Authorized ☐ Conditional ☐ Not Authorized |