## 📋 Index
TRAINING RACK — DOCUMENTATION PACKAGE
Jeremy Field · Senior Automation Technician · 42U Multi-Platform Training Rack · Rev 4.0
Tab | Document | Description | Last Updated | Status
📋 Index | This document — workbook overview and revision log |  | Active
🌐 Network Register | IP addresses, hostnames, MAC addresses, subnets, VLANs for all rack devices |  | In Progress
🔑 Credentials | Usernames and passwords for all devices and services — KEEP SECURE |  | In Progress
🖥️ Hardware Register | All hardware — catalog numbers, serial numbers, firmware, rack location |  | In Progress
💾 Software Register | All software — versions, license types, keys, expiration dates |  | In Progress
IO Wiring | Field device wiring — PLC I/O point assignments, terminal strip connections |  | In Progress
⚡ Power Distribution | Power source assignments, circuit breakers, PDU outlet allocation |  | In Progress
📝 Change Log | All modifications — date, description, reason for change |  | Active

## 🌐 Network Register
NETWORK REGISTER
IP Addresses · Hostnames · MAC Addresses · Subnets · VLANs
Hostname convention: rack-[platform]-[type]-[number] e.g. rack-ab-clx-01
Device Name | Hostname | Platform | Role | ETH Port | IP Address | Subnet Mask | Gateway | MAC Address | VLAN | Switch Port | DHCP/Static | Notes
-- NETWORK INFRASTRUCTURE --
Cisco SG300-28PP
Hirschmann SPIDER | rack-sw-hirsch-01 | Hirschmann | Dedicated PROFINET switch | ETH0 | 10.10.2.1 | 255.255.255.0 |  |  | PROFINET |  | Static | Siemens PROFINET segment
GL.iNet GL-MT3000 | rack-ap-glinet-01 | GL.iNet | WiFi access point | ETH0 | 10.10.0.2 | 255.255.255.0 |  |  | Mgmt |  | Static | Wireless HMI and mobile device access
-- IIoT INFRASTRUCTURE --
groov EPIC-PR1 | rack-opto-epic-01 | Opto22 | Site 1 supervisory / edge publisher / Node-RED | ETH0 | 10.10.1.10 | 255.255.255.0 |  | [MAC — omitted] | AB/EIP |  | Static | ETH0 = EtherNet/IP network
groov EPIC-PR1 | rack-opto-epic-01 | Opto22 | Site 1 supervisory / edge publisher / Node-RED | ETH1 | 10.10.2.10 | 255.255.255.0 |  | [MAC — omitted] | PROFINET |  | Static | ETH1 = PROFINET network
Raspberry Pi 4B | rack-pi-broker-01 | Raspberry Pi | Dedicated Mosquitto MQTT broker — central UNS | ETH0 | 10.10.5.11 | 255.255.255.0 |  |  | IIoT |  | Static | Headless — broker only. PoE from Cisco SG300. Samsung T7 SSD.
AOOSTAR NAS / Proxmox | rack-srv-iiot-01 | AOOSTAR | IIoT server — Proxmox VE — LXC containers | ETH0 | 10.10.5.12 | 255.255.255.0 |  |  | IIoT |  | Static | Primary data consumer stack — Proxmox VE / LXC
-- ALLEN-BRADLEY CONTROLLERS --
MicroLogix 1400 | rack-ab-mlx1400-01 | Allen-Bradley | Stamping press simulation | ETH0 | 10.10.1.11 | 255.255.255.0 |  |  | AB |  | Static
MicroLogix 1000 | rack-ab-mlx1000-01 | Allen-Bradley | Trimmer simulation — DF1 serial only | Serial | N/A — serial only |  |  |  | N/A |  | N/A | DF1 serial to MGate EIP3170 only. No Ethernet.
Micro850 | rack-ab-m850-01 | Allen-Bradley | Palletizer / bulk bin staging simulation | ETH0 | 10.10.1.12 | 255.255.255.0 |  |  | AB |  | Static
CompactLogix L24ER | rack-ab-clx-01 | Allen-Bradley | Wash line simulation | ETH0 | 10.10.1.13 | 255.255.255.0 |  |  | AB |  | Static | Dual EIP ports / DLR
GuardLogix | rack-ab-glx-01 | Allen-Bradley | Wash line safety — CIP Safety | ETH0 | 10.10.1.14 | 255.255.255.0 |  |  | AB |  | Static | 1734-AENTR + 1734-IB8S + 1734-OB8S
PanelView 800
-- SIEMENS CONTROLLERS --
S7-1200 #1 + ET200SP PROFINET | rack-sie-s71200-01 | Siemens | Inspection and sorting simulation | ETH0 | 10.10.2.11 | 255.255.255.0 |  |  | PROFINET |  | Static | ET200SP IM155-6PN ST distributed I/O
S7-1200 #2 + ET200SP PROFIBUS | rack-sie-s71200-02 | Siemens | Intra-site conveyor simulation | ETH0 | 10.10.2.12 | 255.255.255.0 |  |  | PROFINET |  | Static | ET200SP IM155-6DP HF via CM 1243-5 PROFIBUS master
ET200SP PROFINET IM155-6PN ST
ET200SP PROFIBUS IM155-6DP HF | rack-sie-et200sp-pb-01 | Siemens | Distributed I/O — Conveyor / Safety | PROFIBUS | N/A — PROFIBUS device |  |  |  | N/A |  | N/A | Slave to S7-1200 #2 CM 1243-5. F-DI safety module installed.
-- BECKHOFF --
CX5120 | rack-bec-cx5120-01 | Beckhoff | High speed forming simulation / EtherCAT master | ETH0 | 10.10.3.10 | 255.255.255.0 |  |  | Beckhoff |  | Static | EK1100 EtherCAT I/O on dedicated EtherCAT bus
-- WAGO --
Wago PFC200 750-8206
-- PROTOCOL GATEWAYS --
MGate EIP3170 | rack-gw-eip-01 | Moxa | MicroLogix 1000 DF1 serial to EtherNet/IP | ETH0 | 10.10.4.10 | 255.255.255.0 |  |  | AB |  | Static | Serial: DF1 / baud TBD / node 1
MGate MB3170 | rack-gw-mb-01 | Moxa | PowerFlex 4 x3 Modbus RTU to Modbus TCP | ETH0 | 10.10.4.11 | 255.255.255.0 |  |  | AB |  | Static | RTU daisy chain: nodes 1 / 2 / 3. Auto-param routine planned.
-- HMI AND DISPLAYS --
TBD 10" HMI | rack-hmi-tbd-01 | TBD | Vendor-agnostic HMI — model TBD | ETH0 | 10.10.1.21 | 255.255.255.0 |  |  | AB |  | Static | Model TBD — replacing Red Lion G310
Samsung Galaxy Tab A5 | rack-display-tab-01 | Samsung | Ignition Perspective kiosk display | WiFi | 10.10.6.10 | 255.255.255.0 |  |  | Display |  | DHCP | Wireless kiosk mode browser

## 🔑 Credentials
CREDENTIALS REGISTER — TEMPLATE ONLY
Structure reference only — no credentials stored in this file
⚠ Credential values are stored offline in a password manager. Do not add real credentials to this repository file.
Fill in credentials as devices are commissioned — store in password manager only. Use this sheet as a structural reference.
Device / Service | Category | Access Type | Username | Password | URL / IP / Port | Notes | Date Set | Last Changed
Device / Service | Category | Access Type | Username | Password | URL / IP / Port | Notes | Date Set | Last Changed
[Device Name] | [Category] | [Access Type] | [not stored here] | [not stored here] | [URL or IP]
⚠ This tab is intentionally blank in the public repository. Credential values are maintained offline.

## 🖥️ Hardware Register
HARDWARE REGISTER
All rack hardware — catalog numbers, serial numbers, firmware versions, acquisition details
Update firmware version whenever firmware is updated. U-Position = rack unit from bottom (1) to top (42).
Device Name | Manufacturer | Catalog / Model | Serial Number | Firmware / SW Ver | U Position | Rack Side | Power Source | Acquisition | Cost | Date Acquired | Status | Notes
-- RACK INFRASTRUCTURE --
42U Open Frame Rack
PDU | StarTech | RKPW081915 |  |  | Bottom front |  | AC Mains | Purchased | $37 |  | Acquired
PSU 24VDC 10A #1 | Phoenix Contact | [5 empty] | AC Mains | Purchased |  |  | Acquired | 240W — AB controllers bus
PSU 24VDC 10A #2 | Phoenix Contact | [5 empty] | AC Mains | Purchased |  |  | Acquired | 240W — Siemens / Beckhoff bus
PSU 24VDC 10A #3 | Phoenix Contact | [5 empty] | AC Mains | Purchased |  |  | Acquired | 240W — HMI / drives / gateways bus
PSU 24VDC 10A #4 | Phoenix Contact | [5 empty] | AC Mains | Purchased |  |  | Acquired | 240W — reserved / expansion
-- NETWORK INFRASTRUCTURE --
Cisco SG300-28PP | Cisco | SG300-28PP |  |  |  |  | PDU | Purchased | $40 |  | Acquired | PoE+ — 26 usable copper ports
Hirschmann SPIDER | Hirschmann | SPIDER |  |  |  |  | 24VDC | Existing |  |  | Acquired | Dedicated PROFINET switch
GL.iNet GL-MT3000
-- IIoT INFRASTRUCTURE --
groov EPIC-PR1 | Opto22 | GRV-EPIC-PR1 | [serial — omitted] | 4.1.0-b.74 / Ignition 8.3.3 |  |  | 24VDC | Purchased | $800 |  | Active | Licensed — groov View + OPC-UA + SSH. Key stored offline.
AOOSTAR NAS / Proxmox | AOOSTAR | WTR Max (Ryzen 7 PRO 8845HS) |  |  |  | Rear shelf | PDU | Purchased | ~$200 |  | Pending | Ryzen 7 PRO 8845HS / 32GB DDR5 / 5x NVMe / 2.5GbE / Proxmox VE
Raspberry Pi 4B 8GB | Raspberry Pi | Pi 4B 8GB |  |  |  |  | PoE from Cisco | Purchased |  |  | Acquired | Dedicated MQTT broker. Samsung T7 500GB SSD for persistence.
Samsung Galaxy Tab A5
-- ALLEN-BRADLEY CONTROLLERS --
MicroLogix 1400 | Allen-Bradley | 1766-L32BXBA |  |  |  |  | 24VDC | Work salvage | $0 |  | Acquired | Stamping press simulation
MicroLogix 1000 | Allen-Bradley | 1761-L16BWA |  |  |  |  | 24VDC | Work salvage | $0 |  | Acquired | Trimmer simulation. DF1 serial to MGate EIP3170 only.
Micro850 | Allen-Bradley | 2080-LC50-48QBB |  | FW 4.012 |  |  | 24VDC | Work surplus | $0 | 2022-05-17 | Acquired | Palletizer simulation. Brand new Series A.
CompactLogix L24ER | Allen-Bradley | 1769-L24ER-QBFC1B |  |  |  |  | 24VDC | Work salvage | $0 |  | Acquired | Wash line simulation. Dual EIP / DLR / HSC / onboard analog.
GuardLogix | Allen-Bradley | [5 empty] | 24VDC | Existing | $0 |  | Acquired | Wash line safety. With 1734-AENTR + safety Point I/O.
1734-AENTR | Allen-Bradley | 1734-AENTR |  |  |  |  | 24VDC | Existing | $0 |  | Acquired | EtherNet/IP adapter for Point I/O
1734-IB8S | Allen-Bradley | 1734-IB8S |  |  |  |  | 24VDC | Existing | $0 |  | Acquired | Safety discrete input module
1734-OB8S | Allen-Bradley | 1734-OB8S |  |  |  |  | 24VDC | Existing | $0 |  | Acquired | Safety discrete output module
PanelView 800 | Allen-Bradley | [5 empty] | 24VDC | Existing | $0 |  | Acquired | Machine level HMI. CCW configured.
1762-IF2OF2 | Allen-Bradley | 1762-IF2OF2 |  |  |  |  | MicroLogix bus | Found — parts box | $0 |  | Acquired | Analog expansion — MicroLogix
-- SIEMENS CONTROLLERS --
S7-1200 #1 CPU 1214C | Siemens | CPU 1214C |  |  |  |  | 24VDC | Work surplus | $0 |  | Acquired | Inspection and sorting simulation
S7-1200 #2 CPU 1214C | Siemens | CPU 1214C |  |  |  |  | 24VDC | Pending |  |  | Pending | Intra-site conveyor simulation
S7-1200 CM 1243-5 | Siemens | CM 1243-5 |  |  |  |  | S7-1200 bus | Pending |  |  | Pending | PROFIBUS DP master for ET200SP PROFIBUS
ET200SP PROFINET IM155-6PN ST | Siemens | IM155-6PN ST |  |  |  |  | 24VDC | Purchased | $60 |  | In transit | PROFINET distributed I/O head — Inspection station
ET200SP PROFIBUS IM155-6DP HF
-- BECKHOFF --
CX5120 | Beckhoff | CX5120 |  |  |  |  | 24VDC | Work salvage | $0 |  | Acquired | High speed forming simulation. EtherCAT master.
EK1100
-- WAGO --
Wago PFC200 750-8206 | Wago | 750-8206 CS 2ETH RS CAN DPS |  |  |  |  | 24VDC | Purchased | $200 |  | In transit | Site 2 controller. Native MQTT + Node-RED + e!COCKPIT.
-- DRIVES --
PowerFlex 4 #1
PowerFlex 4 #2 | Allen-Bradley | 22F |  |  |  |  | 120VAC | Existing | $0 |  | Acquired | Modbus RTU node 2 — MGate MB3170
PowerFlex 4 #3 | Allen-Bradley | 22F |  |  |  |  | 120VAC | Existing | $0 |  | Acquired | Modbus RTU node 3 — MGate MB3170
-- PROTOCOL GATEWAYS --
MGate EIP3170 | Moxa | MGate EIP3170 |  |  |  |  | 24VDC | Purchased |  |  | In transit | MicroLogix 1000 DF1 serial to EtherNet/IP
MGate MB3170 | Moxa | MGate MB3170 |  |  |  |  | 24VDC | Existing | $0 |  | Acquired | PowerFlex 4 x3 Modbus RTU to Modbus TCP. Auto-param routine planned.
-- HMI AND DISPLAYS --
TBD 10" HMI | TBD | TBD |  |  |  |  | 24VDC | Pending |  |  | Pending | Vendor-agnostic 10" HMI. Model TBD.
-- DIAGNOSTIC TOOLS --
PLC Tools SIM-IPE | PLC Tools | SIM-IPE | [5 empty] | Existing | $0 |  | Acquired | IP Explorer
1203-USB | Allen-Bradley | 1203-USB |  |  |  |  | USB | Existing | $0 |  | Acquired | Drive adapter

## 💾 Software Register
SOFTWARE REGISTER
All software — versions, license types, activation keys, expiration dates, download locations
Archive all installers to external SSD. Note folder path in Download Location column.
Software | Vendor | Version | Platform / Target | License Type | License Key / Code | Expiration | Installed On | Download Location (SSD) | Status
-- PLC PROGRAMMING — ALLEN-BRADLEY --
RSLogix 500 Micro Starter
Connected Components Workbench | Rockwell |  | Micro850 | Free | None | No expiry | Personal laptop |  | Installed
Studio 5000 Logix Designer Lite | Rockwell |  | CompactLogix / GuardLogix | Annual subscription — SCC4 grant | Via WCTC SCC4 | Annual | Personal laptop |  | Pending grant reimbursement
-- PLC PROGRAMMING — SIEMENS --
TIA Portal V19 Basic | Siemens | V19 | S7-1200 x2 / ET200SP | Annual — $140/yr |  | Annual | Personal laptop |  | Purchased — installed, not launched
-- PLC PROGRAMMING — BECKHOFF --
TwinCAT 3 XAE | Beckhoff | 3.1 | CX5120 / EK1100 | Free — runtime license required |  | No expiry XAE | Personal laptop |  | Installed — ESI files updated
Beckhoff Package Manager
-- PLC PROGRAMMING — CODESYS --
CoDeSys Dev System V3 | CoDeSys | V3.5.x | groov EPIC / Pi runtime | Free |  | No expiry | Personal laptop |  | Installed
-- PLC PROGRAMMING — WAGO --
e!COCKPIT
-- IIoT STACK — OPTIIPLEX --
Mosquitto MQTT Broker | Eclipse | 2.1.2 | Laptop (temp) / AOOSTAR NAS | Free — open source |  | No expiry | Laptop (temp) |  | Installed on laptop temporarily
Node-RED
InfluxDB OSS | InfluxData |  | AOOSTAR NAS | Free — open source |  | No expiry | Deploy on AOOSTAR NAS / Proxmox LXC |  | Deploy on AOOSTAR NAS / Proxmox LXC
Grafana OSS
Ignition Full | Inductive Automation | 8.x | AOOSTAR NAS | Trial — 2hr reset without license |  | 2hr reset | Deploy on AOOSTAR NAS / Proxmox LXC |  | Deploy on AOOSTAR NAS / Proxmox LXC
Ignition Edge | Inductive Automation | 8.3 | groov EPIC | Trial until GROOV-LIC-EDGE purchased |  | 2hr reset | groov EPIC |  | Installed — disabled
-- IIoT TOOLS --
MQTT Explorer | Thomas Nordquist |  | Personal laptop | Free |  | No expiry | Personal laptop |  | Installed
UAExpert OPC-UA Client | Unified Automation |  | Personal laptop | Free |  | No expiry | Personal laptop |  | To install
-- DEVELOPMENT TOOLS --
VS Code
Git | Git SCM |  | Personal laptop | Free |  | No expiry | Personal laptop |  | Installed
-- CERTIFICATIONS --
HiveMQ MQTT Associate
Ignition Core Certification | Inductive Automation |  | Certification | In progress |  |  |  |  | IN PROGRESS — Inductive University
Walker Reynolds IIoT Cert | 4.0 Solutions |  | Certification | $99/month — planned |  |  |  |  | PLANNED — late May 2026

## IO Wiring
I/O WIRING REGISTER
Field device wiring — PLC I/O point assignments, terminal connections, signal types
Document every I/O point as it is wired. ISA-95 tag names in Tag Name column must match PLC program exactly.
PLC / Controller | Module / Slot | Channel | I/O Type | Signal Type | Tag Name (ISA-95) | Field Device | Terminal Strip | Wire Color | Engineering Units | Range / Scale | Notes
── groov EPIC — DISCRETE INPUT (In TTL — 24ch) ──
groov EPIC | In TTL | CH0 | DI | 24VDC
groov EPIC | In TTL | CH1 | DI | 24VDC
groov EPIC | In TTL | CH2 | DI | 24VDC
groov EPIC | In TTL | CH3 | DI | 24VDC
── groov EPIC — DISCRETE OUTPUT (Out DC i — 12ch) ──
groov EPIC | Out DC i | CH0 | DO | 24VDC source
groov EPIC | Out DC i | CH1 | DO | 24VDC source
groov EPIC | Out DC i | CH2 | DO | 24VDC source
── groov EPIC — ANALOG TEMPERATURE (ICTD — 12ch) ──
groov EPIC | ICTD | CH0 | AI | Thermocouple/RTD |  |  |  |  | Degrees F
groov EPIC | ICTD | CH1 | AI | Thermocouple/RTD |  |  |  |  | Degrees F
groov EPIC | ICTD | CH2 | AI | Thermocouple/RTD |  |  |  |  | Degrees F |  | PowerFlex 4 #1 heat sink
groov EPIC | ICTD | CH3 | AI | Thermocouple/RTD |  |  |  |  | Degrees F |  | PowerFlex 4 #2 heat sink
── groov EPIC — ANALOG INPUT (In -/+ 10V — 12ch) ──
groov EPIC | In -/+ 10V | CH0 | AI | 0-10V |  | Potentiometer #1 |  |  |  | 0-100% | Speed reference simulation
groov EPIC | In -/+ 10V | CH1 | AI | 0-10V |  | Potentiometer #2 |  |  |  | 0-100 PSI | Pressure simulation
── CONTROL STATION I/O ──
Micro850 | Onboard | I0 | DI | 24VDC |  | SW1 — Cycle Start |  |  |  |  | Momentary PB — green
Micro850 | Onboard | I1 | DI | 24VDC |  | SW2 — Cycle Stop |  |  |  |  | Momentary PB — red
Micro850 | Onboard | I2 | DI | 24VDC |  | SW3 — Auto/Manual |  |  |  |  | Selector switch
Micro850 | Onboard | I3 | DI | 24VDC |  | SW4 — Fault Reset |  |  |  |  | Momentary PB — yellow
Micro850 | Onboard | I4 | DI | 24VDC |  | SW5 — E-Stop Sim |  |  |  |  | Maintained PB — red mushroom
Micro850 | Onboard | O0 | DO | 24VDC |  | LED1 — Running |  |  |  |  | Pilot light — green
Micro850 | Onboard | O1 | DO | 24VDC |  | LED2 — Faulted |  |  |  |  | Pilot light — red
Micro850 | Onboard | O2 | DO | 24VDC |  | LED3 — Auto Mode |  |  |  |  | Pilot light — amber
Micro850 | Plug-in | 2080-IF2 CH0 | AI | 0-10V |  | POT1 — Speed Ref |  |  |  | 0-100 RPM
Micro850 | Plug-in | 2080-IF2 CH1 | AI | 4-20mA |  | POT2 — Process Value |  |  |  | 0-100%

## ⚡ Power Distribution
POWER DISTRIBUTION REGISTER
PDU outlet assignments · PSU loading · Circuit assignments
Track total load per PSU to avoid overloading. Each Phoenix Contact PSU rated 10A / 240W at 24VDC.
Device | Power Source | PDU Outlet # | Voltage | Current Draw (A) | Power (W) | Connector Type | PSU / Circuit | Notes
-- AC MAINS (StarTech PDU) --
Industrial DIN Rail PC
Cisco SG300-28PP | PDU |  | 120VAC | ~30W | 30 | IEC C13 | Direct AC | PoE+ budget extra for powered devices
Personal Laptop | PDU |  | 120VAC |  |  | IEC C13 | Direct AC
PowerFlex 4 #1 | PDU |  | 120VAC | ~3A | 360 | NEMA 5-15 | Direct AC | Motor power — control power from 24VDC
PowerFlex 4 #2 | PDU |  | 120VAC | ~3A | 360 | NEMA 5-15 | Direct AC | Motor power — control power from 24VDC
PowerFlex 4 #3 | PDU |  | 120VAC | ~3A | 360 | NEMA 5-15 | Direct AC | Motor power — control power from 24VDC
-- 24VDC BUS — Phoenix Contact PSU #1 (10A / 240W) --
groov EPIC-PR1
MicroLogix 1400 | 24VDC Bus #1 |  | 24VDC | ~0.5A | 12 | Terminal | Phoenix Contact #1
MicroLogix 1000 | 24VDC Bus #1 |  | 24VDC | ~0.3A | 7 | Terminal | Phoenix Contact #1 | Logic power only
Micro850 | 24VDC Bus #1 |  | 24VDC | ~0.5A | 12 | Terminal | Phoenix Contact #1
CompactLogix L24ER | 24VDC Bus #1 |  | 24VDC | ~1.0A | 24 | Terminal | Phoenix Contact #1
GuardLogix + Point I/O | 24VDC Bus #1 |  | 24VDC | ~1.0A | 24 | Terminal | Phoenix Contact #1
MGate EIP3170 | 24VDC Bus #1 |  | 24VDC | ~0.2A | 5 | Terminal | Phoenix Contact #1
MGate MB3170 | 24VDC Bus #1 |  | 24VDC | ~0.2A | 5 | Terminal | Phoenix Contact #1
-- 24VDC BUS — Phoenix Contact PSU #2 (10A / 240W) --
S7-1200 #1 | 24VDC Bus #2 |  | 24VDC | ~0.5A | 12 | Terminal | Phoenix Contact #2
S7-1200 #2 | 24VDC Bus #2 |  | 24VDC | ~0.5A | 12 | Terminal | Phoenix Contact #2
ET200SP PROFINET | 24VDC Bus #2 |  | 24VDC | ~0.5A | 12 | Terminal | Phoenix Contact #2
ET200SP PROFIBUS + F-DI | 24VDC Bus #2 |  | 24VDC | ~0.8A | 19 | Terminal | Phoenix Contact #2
CX5120 + EK1100 | 24VDC Bus #2 |  | 24VDC | ~1.0A | 24 | Terminal | Phoenix Contact #2
Hirschmann SPIDER | 24VDC Bus #2 |  | 24VDC | ~0.3A | 7 | Terminal | Phoenix Contact #2 | PROFINET switch
Wago PFC200 750-8206
-- 24VDC BUS — Phoenix Contact PSU #3 (10A / 240W) --
PanelView 800 | 24VDC Bus #3 |  | 24VDC | ~0.5A | 12 | Terminal | Phoenix Contact #3
TBD 10" HMI | 24VDC Bus #3 |  | 24VDC | ~0.5A | 12 | Terminal | Phoenix Contact #3 | Model TBD
PowerFlex 4 #1 control | 24VDC Bus #3 |  | 24VDC | ~0.1A | 2 | Terminal | Phoenix Contact #3 | Control power only
PowerFlex 4 #2 control | 24VDC Bus #3 |  | 24VDC | ~0.1A | 2 | Terminal | Phoenix Contact #3 | Control power only
PowerFlex 4 #3 control | 24VDC Bus #3 |  | 24VDC | ~0.1A | 2 | Terminal | Phoenix Contact #3 | Control power only
Raspberry Pi 4B | PoE — Cisco SG300 |  | 5VDC via PoE |  | ~5 | PoE | Cisco SG300 PoE+
-- 24VDC BUS — Phoenix Contact PSU #4 (10A / 240W) --
Reserved — future expansion | 24VDC Bus #4 |  | 24VDC |  |  | Terminal | Phoenix Contact #4

## 📝 Change Log
CHANGE LOG
All modifications, configurations, and updates — date, description, reason, result
Document every significant change as it happens. This log is the maintenance history of the rack.
Date | Time | Device / System | Change Type | Description | Reason | Result | Performed By
2026-03-17 |  | groov EPIC | Acquisition | Purchased groov EPIC-PR1 trainer unit with 4 I/O modules in Pelican case from eBay | Rack build — IIoT hub platform | Paid — awaiting shipment | Jeremy Field
2026-03-19 |  | groov EPIC | Firmware | Applied base firmware update grv-epic-pr1-4.1.0-b.74.field.bin (without Ignition) — first step of two-step process | PR1 requires base update before Ignition 8 firmware | Successful — firmware 4.1.0-b.74 | Jeremy Field
2026-03-19 |  | groov EPIC | Firmware | Applied Ignition 8.3 firmware grv-epic-pr1-ignition8.3-4.1.0-b.74.field.bin | Add Ignition Edge 8.3 capability to EPIC | Successful — Ignition 8.3.3 installed | Jeremy Field
2026-03-19 |  | groov EPIC | License | Transferred activation from previous owner via Opto22 support. Uploaded license file. | Previous owner account — needed transfer for full functionality | Successful — license active. groov View + SSH + OPC-UA licensed | Jeremy Field
2026-03-19 |  | groov EPIC | Configuration | Created shell account 'epicshell' — enabled SSH access on port 22 | Enable Linux shell access for advanced configuration | Successful — SSH working | Jeremy Field
2026-03-19 |  | groov EPIC — Node-RED | Configuration | Built first Node-RED heartbeat flow — inject → function → MQTT out. Publishing to laptop Mosquitto broker. | Proof of life — verify complete data path EPIC to broker | Successful — test/epic/heartbeat topic visible in MQTT Explorer | Jeremy Field
2026-03-19 |  | Laptop — Mosquitto | Installation | Installed Mosquitto 2.1.2 on laptop as temporary MQTT broker. Configured listener 1883, allow_anonymous true. Windows Firewall rule added. | EPIC needs external broker — Yocto Linux cannot host Mosquitto natively | Successful — MQTT Explorer connecting to 192.168.1.100:1883 | Jeremy Field
2026-03-19 |  | groov EPIC — CoDeSys | Configuration | Connected CoDeSys Dev System V3 to EPIC CoDeSys runtime. Installed Opto22 device package and Component Manager 3.5.18.0. Created user management admin account. | Enable CoDeSys program development on EPIC | Successful — runtime running, empty program downloaded | Jeremy Field
2026-03-20 |  | groov EPIC — Network | Configuration | Assigned static IP 192.168.1.10 to ETH0. Laptop Ethernet assigned 192.168.1.100. Direct laptop-to-EPIC connection for commissioning. | Establish stable network connection between laptop and EPIC | Successful — ping working both directions 2.3ms RTT | Jeremy Field
2026-03-28 |  | Rack Documentation | Revision | Updated documentation package to v4.0. Removed PLC-5/20, LOGO! 8 x2, Red Lion G310. Added MicroLogix 1000 (trimmer), Wago PFC200, S7-1200 #2, ET200SP PROFINET + PROFIBUS, GL.iNet AP, 4x Phoenix Contact PSUs. Updated machine role assignments to Loogootee Mfg. simulation. | Rack configuration finalized for Loogootee simulation | Complete | Jeremy Field